| EUROPEAN STANDARD NORME EUROPÉENNE EUROPÄISCHE NORM |  | prEN 1504-9 CEN/TC 104/SC 8 N 892 Rev.1 |
| --- | --- | --- |
| ICS Descriptors: |  |  |
| English version |  |  |
| Products and systems for the protection and repair of concrete structures - Definitions, requirements, quality control and evaluation of conformity - Part 9 : General principles for the use of products and systems |  |  |
| Produits et systèmes pour la protection et la réparation de structures en béton - Définitions, prescriptions, maîtrise de la qualité et évaluation de la conformité - Partie 9 : Principes généraux d'utilisation des produits et systèmes | Produkte und Systeme für den Schutz und die Instandsetzung von Betontragwerken - Begriffe, Anforderungen, Qualitätskontroll, Konformitätsbewertung - Teil 9 : Allgemeine Grundsätze für den Einsatz von Produkten und Systemen |  |
| European prestandard ENV 1504-9:1997 was approved by CEN on 1996-11-21 as a prospective standard for provisional application. This version is a conversion of ENV 1504-9 into a full EN standard. This draft European standard is submitted to SC8 for agreement to progress to Formal vote. It has been drafted by the Technical Committee CEN/TC 104. If this draft becomes a European Standard, CEN members are bound to comply with the requirements of the CEN/CENELEC Internal Regulations which stipulate the conditions for giving this European Standard the status of a national Standard without any alteration. This draft European Standard was established by CEN in three official versions (English, French, German). A version in any other language made by translation under the responsibility of a CEN member into its own language and notified to the CEN Central Secretariat has the same status as the official versions. CEN members are the national standards organisations of Austria, Belgium, Denmark, Finland, France, Germany, Greece, Iceland, Ireland, Italy, Luxembourg, Netherlands, Norway, Portugal, Spain, Sweden, Switzerland and United Kingdom. CEN members are the national standard bodies of Austria, Belgium, Denmark, Finland, France, Germany, Greece, Iceland, Ireland, Italy, Luxembourg, Netherlands, Norway, Portugal, Spain, Sweden, Switzerland and United Kingdom. This page to be edited by CMC |  |  |
| CEN European Committee for Standardization Comité Européen de Normalisation Europäisches Komitee für Normung Central Secretariat : rue de Stassart 36, B-1050 Brussels |  |  |
| © 1996 Copyright reserved to all CEN members. |  |  |

Contents

This needs to be updated to reflect the changes to the standard once they are agreed

Foreword	3

Introduction	3

1	Scope	3

2	Normative references	3

3	Definitions	3

3.1	active coatings for concrete	Fout! Bladwijzer niet gedefinieerd.

3.2	active coatings for reinforcement	Fout! Bladwijzer niet gedefinieerd.

3.3	barrier coatings for concrete	Fout! Bladwijzer niet gedefinieerd.

3.4	barrier coatings for reinforcement	Fout! Bladwijzer niet gedefinieerd.

3.5	defect	3

3.6	design life	3

3.7	maintenance	3

3.8	passive/passivity	3

3.9	protection	3

3.10	repair	3

3.11	service life	3

3.12	substrate	3

4	Minimum requirements before protection and repair	3

4.1	General	3

4.2	Safety	3

4.3	Assessment of defects and their causes	3

5	Objectives of protection and repair	3

5.1	General	3

5.2	Options	3

5.3	Factors to be considered when choosing options	3

5.4	Choice of appropriate action	3

6	Basis for the choice of products and systems	3

6.1	General	3

6.2	Principles of protection and repair	3

7	Properties of products and systems required for compliance with the principles of protection and repair	3

7.1	General	3

7.2	Application conditions are specified in pr EN 1504-10	Fout! Bladwijzer niet gedefinieerd.

7.3	Required properties of products and systems	Fout! Bladwijzer niet gedefinieerd.

7.4	Methods which do not make use of specific products and systems	3

8	Maintenance following completion of protection or repair	3

9	Health, safety and the environment	3

Where there is a conflict between the properties of specific products or systems and environmental protection or fire regulations, use shall be made of alternative repair principles or methods which avoid such a conflict. Annex B (Informative)	3

Annex B (Informative)	3

Annex B (Informative)	3

Annex B (Informative)	3

Annex B (Informative)	3

Foreword	3

Introduction	3

B.1	Scope	3

B.2	Normative references	3

B.3	Definitions	3

B.4	Minimum requirements before protection or repair	3

B.5	Objectives of protection and repair	3

B.6	Procedures leading to the choice of products and systems	3

B.7	Properties of products and systems required for compliance with the principles of protection and repair	3

B.8	Maintenance following the completion of protection or repair	3

B.9	Health, safety and the environment	3

# Foreword

This European standard (EN 1504-9:2005) has been prepared by Technical Committee CEN/TC 104 "Concrete and related products”, the secretariat of which is held by DIN.

This European standard shall be given the status of a national standard, either by publication of an identical; text or by endorsement, at the latest by December 2006, and conflicting national standards shall be withdrawn at the latest by 31 December 2008.

It has been prepared by Sub-committee 8 "Products and systems for the protection and repair of concrete structures” (Secretariat AFNOR).

This document is one part of the European standard on “Products and systems for the protection and repair of concrete structures - Definitions, requirements, quality control and evaluation of conformity”.  The other parts are listed below:

- Part 1: General scope and definitions

- Part 2: Surface protection systems for concretes

- Part 3: Structural and non structural repair

- Part 4: Structural bonding

- Part 5: Concrete injection

- Part 6: Anchoring of reinforcing steel bar

- Part 7: Reinforcement corrosion protection

- Part 8: Quality control and evaluation of conformity

- Part 10: Site application of products and systems and quality control of the works

According to the CEN/CENELEC Internal Regulations, the national standards organizations of the following countries are bound to announce this European standard: Austria, Belgium, Czech Republic, Denmark, Finland, France, Germany, Greece, Iceland, Ireland, Italy, Luxembourg, Netherlands, Norway, Portugal, Spain, Sweden, Switzerland and the United Kingdom.

CMC to check and update

# Introduction

Protection and repair of concrete structures require complex design work. This standard defines the principles for protection and repair of concrete structures which have suffered or may suffer damage or deterioration and gives guidance on the selection of products and systems which are appropriate for the intended use.

This standard identifies key stages in the repair process:

- assessment of the condition of the structure;

- identification of the causes of deterioration;

- deciding the options for protection and repair;

- selection of the appropriate principle(s) of protection and repair;

- selection of methods;

- definition of properties of products and systems;

- specification of maintenance requirements following protection and repair.

This standard contains an annex A (Informative) which provides guidance and background information on the normative text.

# 1	Scope

This European standard sets out basic considerations for specification of protection and repair of reinforced and unreinforced concrete structures (including, for example, pavements, runways, floors and pre-stressed structures) using products and systems specified in other Parts of the EN 1504 series or any other relevant European standard or European Technical Approval. This Standard covers atmospherically exposed, buried and submerged structures.

This European standard includes:

a) the need for inspection, testing and assessment before and after repair;

b) protection from and repair of defects in concrete structures. Causes of such defects may include

1) mechanical actions, e.g. impact, overloading, movement caused by settlement, blast, vibration and seismic actions;

2) chemical and biological actions from environments, e.g. sulphate attack, alkali aggregate reaction;

3) physical actions, e.g. freeze-thaw, thermal cracking, moisture movement, salt crystallisation and erosion;

4) fire damage

5) reinforcement corrosion resulting from:

i) physical loss of the protective concrete cover;

ii) chemical loss of alkalinity in the protective concrete cover as a result of reaction with atmospheric carbon dioxide (carbonation);

iii) chloride (or other chemical) contamination of the concrete

iv) stray electrical currents conducted or induced in the reinforcement from neighbouring electrical installations.

c) Repair of defects caused by inadequate design, specification or construction or use of unsuitable construction materials;

d) providing the required structural capacity by:

1) replacement or addition of embedded or external reinforcement;

2) filling of cracks and voids within or between elements to ensure structural continuity;

3) replacement or addition of concrete

e) waterproofing as an integral part of protection and repair;

f) principles and methods of protection and repair, for example those listed in Table 1

Site application is covered in Part 10 of this European standard.

2	Normative references

This European standard incorporates by dated or undated reference, provisions from other publications. These normative references are cited at the appropriate places in the text and the publications are listed hereafter. For dated references, subsequent amendments to or revisions of any of these publications apply to this European standard only when incorporated in it by amendment or revision. For undated references the latest edition of the publication referred to applies.

| EN 206-1 | Concrete - Performance, production and conformity |
| --- | --- |
| EN 1504-1 | Products and systems for the protection and repair of concrete structures - Definitions, requirements, quality control and evaluation of conformity - Part 1 : General scope and definitions |
| EN 1504-2 | Products and systems for the protection and repair of concrete structures - Definitions, requirements, quality control and evaluation of conformity - Part 2 : Surface protection systems |
| EN 1504-3 | Products and systems for the protection and repair of concrete structures - Definitions, requirements, quality control and evaluation of conformity - Part 3 : Structural and non structural repair |
| EN 1504-4 | Products and systems for the protection and repair of concrete structures - Definitions, requirements, quality control and evaluation of conformity - Part 4 : Structural bonding |
| EN 1504-5 | Products and systems for the protection and repair of concrete structures - Definitions, requirements, quality control and evaluation of conformity - Part 5 : Concrete injection |
| EN 1504-6 1) | Products and systems for the protection and repair of concrete structures - Definitions, requirements, quality control and evaluation of conformity - Part 6 : Anchoring of reinforcing steel bar |
| EN 1504-7 1) | Products and systems for the protection and repair of concrete structures - Definitions, requirements, quality control and evaluation of conformity - Part 7 : Reinforcement corrosion prevention |
| EN 1504-8 | Products and systems for the protection and repair of concrete structures - Definitions, requirements, quality control and evaluation of conformity -Part 8 : Quality control and evaluation of conformity |
| EN 1504-10 | Products and systems for the protection and repair of concrete structures - Definitions, requirements, quality control and evaluation of conformity -Part 10 : Application of products and systems and quality control of the works. |

THIS LIST NEEDS CHECKING AND UPDATING ONCE THE TEXT IS FINALISED

# 3	Definitions

The definitions contained in EN 1504 Parts 1 to 8 and Part 10 apply.

## 3.1	Defect

An unacceptable condition which may be in-built or may be the result of deterioration or damage

## 3.2	Design life

The intended useful period of service under expected conditions of use of the concrete structure.

## 3.3	Maintenance

Recurrent or continuous measures which provide repair and/or protection.

## 3.4	Passivity

The state in which steel does not spontaneously corrode due to a protective oxide film.

## 3.5	Protection

A measure which is intended to prevent or reduce the development of defects in the structure.

## 3.6	Repair

A measure which is intended to rectify defects in the structure.

## 3.7	Service life

The period over which the intended performance is achieved.

## 3.8	Substrate

The surface onto which a protection or repair material is applied or is to be applied.

# 4	Minimum requirements before protection and repair

## 4.1	General

This clause gives the minimum requirements necessary for the assessment of the current condition of a concrete structure.

Note:		This clause is not a detailed guide to undertaking an assessment of the condition of the concrete structure.  General guidance is given in Annex A (informative).

## 4.2	Safety

The risks to health and safety from falling debris or local failure due to removing materials, and the effect of deterioration upon the mechanical stability of the concrete structure shall be assessed.

Where the concrete structure is considered to be unsafe, appropriate action shall be specified to make it safe before other protection or repair work is undertaken, taking into account any additional risks that may arise from the repair work itself. Such action may include local protection or repairs, the installation of support or other temporary works, or partial or even complete demolition.

## 4.3	Assessment of defects and their causes

An assessment shall be made of the defects in the concrete structure, their causes, and of the ability of the concrete structure to perform its function.

The process of assessment of the structure shall include but not be limited to the following:

a) the visible condition of the existing concrete structure;

b)  testing to determine the presence of non-visible and potential defects; including the condition of the concrete and reinforcing steel; need to ADD to informative text on this point

c) the original design approach;

d) the environment, including exposure to contamination;

d) conditions during construction (including climatic conditions) ;

e) the history of the concrete structure, including environmental exposure;

f) the conditions of use, (e.g. loading or other actions) ;

g) requirements for future use.

The nature and causes of defects, including combinations of causes, shall be identified and recorded.

The approximate extent and likely rate of increase of defects shall then be assessed. An estimate shall be made of when the member or concrete structure would no longer perform as intended , with no protection or repair measures (other than maintenance of existing systems) applied.

The results of the completed assessment shall be valid at the time that the protection or repair works are designed and carried out. If, as a result of passage of time or for any other reason, there are doubts about the validity of the assessment, a new assessment shall be made.

|  |  |  | CAUSES OF DEFECTS IN CONCRETE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | CAUSES OF REINFORCEMENT CORROSION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Mechanical |  |  |  | Chemical |  |  |  | Physical |  |  |  |  | Fire |  |  |  |  |  | Carbonation |  |  |  |  |  | Stray currents |  |  |  |  |  |  | Corrosive contaminants |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | At mixing |  |  |  |  |  |  | From external environment |  |  |  |  |  |
| · Impact · Overload · Movement (e.g. settlement) · Explosion · Vibration |  |  |  | · Alkali-aggregate reaction · Aggressive agents e.g. sulphates, soft water, salts · Biological activities |  |  |  | · Freeze / thaw · Thermal · Salt crystallization · Shrinkage · Erosion · Wear |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | · Sodium Chloride · Calcium Chloride |  |  |  |  |  |  |  | · Sodium Chloride · Other contaminants |  |  |  |  |  |  |  |

Figure 1 : Common causes of defects

# 5	 Protection and repair within a Structure Management Strategy

## 5.1	General

This clause identifies options and factors to be considered when choosing a strategy for the management of the structure..

## 5.2	Options

The following structure management options shall be taken into account in deciding the appropriate action to meet the future requirements for the life of the structure:

a) do nothing for a certain time;

b) re-analyse the structural capacity, possibly leading to downgrading in function;

c) prevent or reduce further deterioration;

d) strengthening or repair and protection of all or part of the concrete structure;

e) reconstruct all or part ;

f) demolish all or part.

## 5.3	Factors

Factors to be considered when choosing a management strategy include but are not limited to the following categories:

### 5.3.1	General

a) the intended use and remaining service lifeof the structure ;

b) the required performance characteristics of the structure;

Note:  This may include, for example, fire resistance and watertightness.

c) the likely service life of the protection or repair works;

d) the required availability of the structure, permissible interruption to its use and opportunities for additional protection, repair and monitoring work;

e) the number and cost of repair cycles acceptable during the design life of the concrete structure ;

f) the comparative whole life cost of the alternative management strategies, including future inspection and maintenance or further repair cycles;

g) the appearance of the protected or repaired structure;

### 5.3.2	Health and safety

a) the consequences of structural failure;

b) health and safety requirements;

c) the impact on occupiers or users of the structure and on third parties;

### 5.3.3	Structural

a) the actions and how they will be resisted, including during and after implementation of the strategy;

### 5.3.4	Environmental

a) the exposure environment of the structure and whether it can be changed locally; check with EN 206-1

b) the need or opportunity to protect part or all of the concrete structure, from weather, pollution, salt spray etc, including protection of the substrate during the repair work.

## 5.4	Choice of appropriate strategy

The choice of strategy for the structure shall be based on the above assessment of the structure client requirements, and relevant provisions (eg. safety requirements) valid in the place of execution.  Where it is decided to carry out protection or repair works, these shall comply with this European standard.

A protection and repair principle or principles shall be chosen according to Clause 6, that is:

a) appropriate to the type, cause or combination of causes and to the extent of the defects;

b) appropriate to the future service conditions;

# 6	Basis for the choice of protection and repair principles

## 6.1	General

This clause specifies the basic principles which shall be used, separately or in combination, where it is necessary to protect or repair concrete structures.

Note:		Methods which do not use products and systems covered by EN 1504 are addressed in subclause 7.2.

## 6.2	Principles of protection and repair

The principles of protection and repair are based on chemical or physical principles which can be used to prevent or stabilise the deterioration of concrete or electrochemical corrosion on the steel surface.

Table 1 contains examples of protection and repair methods which apply the principles.  Only methods which comply with the principles shall be selected, taking into account any possible undesirable consequences of applying a particular method or combination of methods under the specific conditions of the individual repair.

Other methods not described in this European standard may be used if it can be shown that they comply with one or more principles.

Specifications for products and systems which may be used to implement a particular method are given in EN 1504 parts 2 to 7, as indicated in Table 1.  Site application of the methods is addressed in EN 1504-10.

### 6.2.1	Principles and methods related to defects in concrete

Principles 1 to 6 in table 1 cover defects in the concrete or concrete structures that may be caused by the following actions, that may act either singly or in combination:

a) mechanical:, e.g. impact, overloading, movement caused by settlement, and blast;

b) chemical and biological: e.g. sulphate attack, alkali aggregate reaction;

c) physical: e.g. freeze-thaw action, thermal cracking, moisture movement, salt crystallization and erosion.

d) fire

### 6.2.2	Principles and methods related to reinforcement corrosion

Principles 7 to 11 in table 1 cover reinforcement corrosion caused by:

a) physical loss of the protective concrete cover;

b) chemical loss of alkalinity in the protective concrete cover as a result of reaction with atmospheric carbon dioxide (carbonation);

c) contamination of the protective concrete cover with corrosive agents (usually chloride ions) which were incorporated in the concrete when it was mixed or which have penetrated into the concrete from the environment;

d) stray electrical currents conducted or induced in the reinforcement from neighbouring electrical installations.

| Principle | Examples of Methods based on the Principles | Part of EN 1504 |
| --- | --- | --- |
| Principles and methods related to defects in concrete |  |  |
| 1. Protection against ingress | 1.1 Hydrophobic impregnation | 2 |
|  | 1.2 Impregnation | 2 |
|  | 1.3 Coating | 2 |
|  | 1.4 Filling cracks | 5 |
|  | 1.5 Transferring cracks into joints |  |
|  | 1.6 Erecting external panels |  |
|  | 1.7 Applying membranes |  |
| 2. Moisture control | 2.1 Hydrophobic impregnation | 2 |
|  | 2.2 Impregnation | 2 |
|  | 2.3 Coating | 2 |
|  | 2.4 Erecting external panels |  |
|  | 2.5 Electrochemical treatment |  |
| 3. Concrete restoration | 3.1 Hand-applied mortar | 3 |
|  | 3.2 Recasting with concrete | 3 |
|  | 3.3 Spraying concrete or mortar | 3 |
|  | 3.4 Replacing elements. |  |
| 4. Structural strengthening | 4.1 Adding or replacing embedded or external reinforcing bars. |  |
|  | 4.2 Adding reinforcement anchored in pre-formed or drilled holes | 6 |
|  | 4.3 Bonding plate reinforcement | 4 |
|  | 4.4 Adding mortar or concrete | 3, 4 |
|  | 4.5 Injecting cracks, voids or interstices | 5 |
|  | 4.6 Filling cracks, voids or interstices | 5 |
|  | 4.7 Prestressing - (post tensioning) |  |
| 5. Increasing physical resistance | 5.1 Overlaying or Coating | 2 |
|  | 5.2 Impregnation | 2 |
| 6. Resistance to chemicals | 6.1 Overlaying or Coating | 2 |
|  | 6.2 Impregnation |  |
| Principles and methods related to reinforcement corrosion |  |  |
| 7. Preserving or restoring passivity | 7.1 Increasing cover with additional mortar or concrete | 3 |
|  | 7.2 Replacing contaminated or carbonated concrete | 3 |
|  | 7.3 Electrochemical realkalisation of carbonated concrete |  |
|  | 7.4 Realkalisation of carbonated concrete by diffusion |  |
|  | 7.5 Electrochemical chloride extraction |  |
| 8. Increasing resistivity | 8.1 Hydrophobic impregnation | 2 |
|  | 8.2 Impregnation | 2 |
|  | 8.3 Coating | 2 |
| 9. Cathodic control | 9.1 Limiting oxygen content (at the cathode) by saturation or surface coating |  |
| 10. Cathodic protection | 10.1 Applying an electrical potential1) |  |
| 11. Control of anodic areas | 11.1 Active coating of the reinforcement | 7 |
|  | 11.2 Barrier coating of the reinforcement | 7 |
|  | 11.3 Applying inhibitors to the concrete |  |

Table 1 : Principles and Methods for protection and repair of concrete structures

Where there is existing corrosion of reinforcement or a danger that corrosion will occur in the future, one or more of principles of corrosion protection or repair (Principles 7 to 11 in Table 1) shall be selected.

In addition, the concrete itself shall be repaired, where necessary, according to Principles 1 to 6.

### 6.2.3	Protection and repair of concrete and reinforcement by methods not mentioned in this European standard

The absence from this European standard of a specific protection or repair method, or the application of a method to a new situation, shall not be taken to mean that such a method or application is necessarily unsatisfactory. The application of methods to situations unforeseen in this European standard, or the use of methods which do not have a substantial history of successful performance and are not specified in this European standard, may be satisfactory in appropriate circumstances.

# 7	Properties of products and systems required for compliance with the principles of protection and repair

## 7.1	General

When the appropriate methods have been chosen in accordance with the principles given in Clause 6, the products and systems to be used shall be selected in accordance with the requirements of EN 1504 Parts 2 to 7, as shown in Table 1, or other relevant European standard or appropriate European Technical Approvals..

Descriptions and acceptance values of properties in relation to specific products and systems are specified in parts 2 to 7 of EN 1504. Care shall be taken that products and systems do not undergo adverse physical or chemical reactions with each other and with the concrete structures.

EN 1504-10 gives details of site application requirements. If on-site application conditions cannot reasonably be made to fulfil the application conditions specified for the product or system, alternative products (if any) or alternative repair principles or methods shall be specified to avoid such a conflict.

## 7.2	Methods which do not make use of specific products and systems

In the case of methods listed in table 1 which do not make use of specific products and systems as defined in the relevant parts of EN 1504 series, appropriate values shall be specified for the properties of the selected products or systems.

# 8	Maintenance following completion of protection or repair

Unless otherwise agreed, the following shall be provided:

1) a record of the protection or repair works which have been carried out, including any test results;

2) instructions on inspection and maintenance to be undertaken during the remaining design life of the repaired part of the concrete structure.

# 9	Health, safety and the environment

The specification for protection or repair shall comply with the requirements of relevant health and safety, environmental protection and fire regulations.

# Where there is a conflict between the properties of specific products or systems and environmental protection or fire regulations, use shall be made of alternative repair principles or methods which avoid such a conflict.

# 10	Competence of personnel

Editors note: the wording has been slightly edited from the proposal by Mr Maage to improve the way it reads.

This European standard presupposes that personnel have the necessary skill and adequate equipment and resources to design specify and execute the work in accordance with the relevant Parts of this standard and the requirements of the project specification.

Note: In some countries there are special requirements regarding the level of knowledge, training and experience of personnel involved in the different tasks.

# Annex B (Informative) NOT CONSIDERED – revised text to be circulated in early June

# Foreword

This Annex provides guidance and background information on the Normative text. The contents of this Annex are numbered in the same way as the Normative text to facilitate reference.

# Introduction

This European standard does not exclude the use of methods other than those mentioned in this European standard, but restricts their use to situations where it is considered appropriate to use them. In this case in addition, the requirements of the intended use and the properties of the products and systems have to be verified.

## B.1	Scope

b) The resistance of concrete to different classes of environmental attack is defined in EN 206. This European standard covers only products and systems which are necessary to protect the concrete against chemical attacks as defined in EN 206 or other chemical substances. The general principles of the European standard can be applied to protect concrete against attack from more aggressive chemicals, though further measures may be needed in some cases.

Under certain biological or oxidising conditions, sewage can generate acids or sulphates which attack concrete.

b) and c) As a result of taking routine precautions, cover should protect reinforcement from corrosion under conditions of normal exposure in natural environments, including marine environments, and the use of de-icing salts. "Inadequate construction" and "unsuitable construction materials" include cover which is of insufficient quality or thickness (see subclause B.4.3).

i) The methods of protection and repair are given in Clause 6 and are described in more detail in EN 1504-10.

i)3) The technique for reducing the corrosion rate by limiting the moisture content, for example by over-cladding, is limited to situations where concrete can be prevented from taking up water from other sources.

i) 4) Electrochemical methods are included because of their value in reducing the corrosion rate in cases where it is impractical or uneconomic entirely to remove carbonation or contamination by replacing concrete.

k) Products and systems applied for purposes other than protection or repair, for example solely or mainly to improve appearance, or to modify a concrete structure for a different use, are not covered.

m) The preparation of the concrete and reinforcement before application of products and systems is covered in EN 1504-10.

## B.2	Normative references

In addition to the references applicable to the Normative clauses of this European standard, which are listed in Clause 2, there are documents which are referred to in this informative annex which are listed hereafter:

| ENV 1992-1-1 | Eurocode 2: Design of concrete structures - Part 1: General rules and rules for buildings. |
| --- | --- |
| EN 104-865 2) | Determination of carbonation depth in hardened concrete. |

## B.3	Definitions

The listed definition includes only terms which are not in common civil engineering use and terms which have a special meaning in this European standard.

Passivity: Alternative protective systems can be used to reduce to a negligible degree the corrosion of steel, provided they are fit for the intended use. These include paints, plastics, metallic coatings, cathodic protection and inhibitive environments provided by certain types of chemicals. The protection normally offered by hydraulic cements in concrete is such a passivating system.

## B.4	Minimum requirements before protection or repair

### B.4.1	General

To help the user of this European standard, Figure B.1 gives an example of the phases of a repair project.

The repair project should be organised as follows:

1) The condition of the structure needs to be assessed at suitable intervals and the findings stored in a management system;

2) when defects are observed, additional assessment should be carried out in which the extent of and reason for defects are recorded. Laboratory testing and recalculation of remaining load capacity is usually needed;

3) selection of appropriate repair principles is the most important part of design of the repair project. Several repair options (e.g. at least 2-3 alternative strategies) should be prepared, based on the specialist assessment, from which a final selection of repair option can be made;

4) suitable repair methods should be specified for all chosen principles, including the quality requirements for the proposed method which defines the intended use of the product or system. Suppliers may be consulted to ensure that their products meet the specification and fulfil the requirements;

5) a contractor who is familiar with repair works and recognised as competent should be appointed;

|  | PHASES OF PROJECT |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | MANAGEMENT OF THE STRUCTURE |  |  | PROCESS OF ASSESSMENT |  | GENERAL PLANNING |  | DESIGN OF REPAIR WORK |  | REPAIR WORK |  | ACCEPTANCE OF REPAIR WORK |  |  |
|  | Basic considerations and actions |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Conditions and history of structure Documentation Commissions for maintenance |  |  | Defects and their classification and causes |  | Options Principles Methods |  | Definitions of the intended use of products Requirements - substrate - products - work - specifications - drawings |  | Choice and use of products and equipment. Tests of quality control. Health and safety |  | Acceptance testing Remedial works Documentation |  |  |
|  | Parts of the EN 1504 series and clauses of this European standard |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Clause 8 of this European standard |  |  | 4.3 of this European standard |  | Clauses 5 and 6 of this European standard |  | EN 1504-2 to EN 1504-7 and clause 7 and annex A of this European standard |  | Clause 9 of this European standard and ENV 1504-10 |  |  |  |  |

Figure B.1 : The phases of repair projects

6) a quality system to ensure that the specified quality requirements are met and that the right repair methods are used should be employed;

7) appropriate arrangements should be made for acceptance inspection. All documents relating to the repair work should be stored in a suitable project management system.

### B.4.2	Safety

No informative comment.

### B.4.3	Assessment of defects and their causes

Assessments should be made by suitably qualified personnel with knowledge of investigation methods, structural design, maintenance, material technology and of the mechanisms which can contribute to the deterioration process of concrete structures.  Many defects result from inadequate design, specification, execution, and materials. Resulting causes of defects are summarised in figure B2.

|  |  | DEFECTS IN CONCRETE |  |  |  |  |  |  |  |  |  |  |  | REINFORCEMENT CORROSION |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Mechanical |  |  |  | Chemical |  |  | Physical |  |  |  | Carbonation |  |  |  | Stray currents |  |  |  | Corrosive contaminants |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | At mixing |  |  |  | From external environment |  |  |
| · Impact · Overload · Movement (e.g. settlement) · Explosion · Vibration |  |  |  | · Alkali-aggregate reaction · Aggressive agents e.g. sulphates, soft water, salts · Biological activities |  |  |  | · Freeze / thaw · Thermal · Salt crystallization · Shrinkage · Erosion · Wear |  |  |  |  |  |  | · Sodium Chloride · Calcium Chloride |  |  |  | · Sodium Chloride · Other contaminants |  |  |  |

Figure B2: Common causes of defects

There may be national, federal or local rules for assessors.

In most cases assessment will have been carried out as a separate operation before the start of the protection or repair, but in all cases it is essential to assess the full extent and the causes of defects.

Assessments which are carried out some time before the design of the repair works is considered, may not represent the current condition and structural capacity of the concrete structure. In such cases the assessment needs to be updated before the protection or repair works are designed.

Assessment may be undertaken in several stages. The purpose of a preliminary stage is to advise on the immediate safety of the concrete structure, to give an informed opinion on the urgency of commissioning further surveys, protection or repairs, and to outline what testing should be done to establish the causes and likely extent of the defects.

The purpose of further assessment is as follows:

- to identify the cause or causes of defects;

- to establish the extent of defects;

- to establish whether defects can be expected to spread to parts that are at present unaffected;

- to assess the effect of defects on structural capacity;

- to identify all locations where protection or repair may be needed.

Assessment should include testing or other investigation with the aim of revealing hidden defects and causes of potential defects.

The causes and type of defect should be considered during assessment. Causes may include but are not limited to those listed below.

Causes of defects due to inadequate construction or materials:

- inadequate structural design;

- inadequate mix design, insufficient compaction, insufficient mixing;

- insufficient cover;

- insufficient or defective waterproofing;

- contamination, poor or reactive aggregates;

- inadequate curing;

Causes of defects revealed during service:

- foundation movement, impacted movement joints, overloading;

- impact damage, expansion forces from fires;

External environment and agents:

- severe climate, atmospheric pollution, chloride, carbon dioxide, aggressive chemicals;

- erosion, aggressive groundwater, seismic action;

- stray electric currents.

Information on the history of the concrete structure, for instance construction, use and management should be sought but is not always available.

The assessment of defects, the prognosis for their further development and the structural assessment should be recorded.

## B.5	Objectives of protection and repair

### B.5.1	General

The selection of a strategy for repair and protection can never be taken on technical grounds alone. In addition to considering the technical possibilities for repair and protection, it is necessary to consider the economic circumstances which affect the decision. The factors listed in 5.3 of this European standard provide as much information as possible to enable an informed judgement to be reached on the relative costs and benefits of the possible technical options for repair.

The design life of the repaired concrete structure is a key consideration in the choice of the protection and repair method. Options range from those which can restore the design life of the concrete structure in a comprehensive single operation, to simpler options which may require repeated maintenance.

Options with a long maintenance-free life are not necessarily preferable to those with a shorter life and the appropriate choice will depend on the circumstances of the individual case.

### B.5.2	Options

Maintaining or restoring safety is a basic requirement of protection and repair. Provided that this requirement is met, a range of options may be available.

Consideration of the options and their consequences will generally include examination of different aspects, for example levels of initial cost, maintenance costs and the possible need to introduce restrictions in the use of the structure. A different level of risk of future deterioration is likely to be associated with each option.

### B.5.3	Factors to be considered when choosing options

c) Maintenance of the protection and repair work will result in a longer service life.

e) Service life can be partly restored by repair, but each repair cycle has its cost and overall deterioration is likely to continue.

g) add to informative g) properties and possible methods of preparation of the existing substrate ;

### B.5.4	Choice of appropriate action

a) As a general rule the initial causes of the defects need to be identified and corrected before a successful repair can be carried out. If correction is not possible, e.g. the use of de-icing salts, the protection and repair must be designed to resist the cause as far as possible.

## B.6	Procedures leading to the choice of products and systems

### B.6.1	General

If consideration of the options laid down in Clause 5 leads to a decision to proceed with protection and repair either:

a) to prevent or reduce further deterioration, without improvement of the structure or

b) to improve, strengthen or refurbish all or part of the concrete structure.

Then the selection of methods for repair shall be made in accordance with the basic principles specified in clause 6. This provides a link between Clause 5 and 6.

Products and systems for the intended use should be selected taking into account the condition of the substrate and the assessment of defects and their causes as detailed in 4.3 of this European standard.

### B.6.2	Principles of protection and repair

Several protection or repair methods may be used in combination but of course the possibility of undesirable as well as desirable interactions between them has to be considered. The influence which protection or repair of the concrete may have on the corrosion of reinforcement, for example by entrapping moisture or by raising the ambient temperature, is also part of the consideration to be made.

Examples for undesirable consequences connected with particular methods include but are not limited to:

a) reducing the moisture content, which may increase the rate of carbonation;

b) surface coating, which may entrap moisture and may destroy adhesion or reduce frost resistance;

c) post-tensioning, which can cause tensile stresses in the structures;

d) electrochemical methods, which may cause embrittlement of susceptible prestressing steel, alkali aggregate reaction with susceptible aggregates, a decrease in frost resistance due to increased moisture contents, or, if under water, corrosion in adjacent structures or vessels ;

e) limiting oxygen content by surface coating or saturation, which can cause increased corrosion if reinforcement in the protected zone is electrically connected to reinforcement in any unprotected zone.

It is self-evident that products and systems should be compatible with each other and with the original concrete structure.

#### B.6.2.1	Principles and methods related to defects in concrete

Where there is a history or risk of reinforcement corrosion, it is necessary to consider Principles 7 to 11 in addition to principles 1 to 6.

Damage to concrete can be caused indirectly by electrochemical actions, e. g. the disrupting effects of corroding reinforcement.

Principle 1 [IP]; Ingress protection

Cracks

Cracks whose widths are within the limits as defined in ENV 1992-1-1 and which are controlled by the reinforcement are normal in reinforced concrete. Other cracks may form for several reasons, e.g. due to plastic shrinkage, thermal contraction, hydration heat or as a result of overloading.

The causes of cracking and the effect on the structure of ingress or seepage through the structure should be established. If there is an adverse effect treatment can be carried out using methods 1.1 to 1.7.

Cracks of any width may cause adverse effects and should be considered.

Some cracks form in the hardened concrete as a result of corrosion which is already taking place. These cracks usually form over the reinforcement and are often the first visual sign that there is a corrosion problem. Cracks caused by corrosion cannot be arrested simply by filling or sealing. These defects should be repaired by methods which take account of the cause of corrosion according to principles 7 to 11.

The possibility of further cracking after the use of methods 1.2 and 1.4 should be considered. Information concerning live and dead cracks is given in EN 1504-5.

Principle 2 [MC]; Moisture Control

General

Protection should either be given when the moisture content in the concrete is lower than the critical value for the material used or the method of protection should allow the moisture to escape without causing damage.

For all methods of principle 2 a maintenance programme should be carried out in accordance with EN 1504-10.

Because systems of protection may not last the design life of the concrete structure, renewal and reparability are important considerations when choosing protection systems.

Control of alkali-aggregate reaction

The main cause of alkali aggregate reaction, besides the presence of significant quantities of alkali reactive aggregate particles and alkalis, is the presence of sufficient quantities of moisture. By reducing moisture to a controlled low limit, alkali silica gel will not be able to expand sufficiently to cause the concrete to crack.

The alkali-aggregate reaction takes place over a certain period of time after which the rate of expansion tends to decrease. After this period, protection and repair might be carried out as for concrete with non-expanding cracks. In order to make sure that the cracks are of the non-expanding type, the crack width should be measured over an adequate period of time.

Protection against freeze-thaw damage

Where defects are caused only by the more severe freeze-thaw action of salt water, and would not be caused by fresh water, protection can be achieved in accordance with principle 1 [IP] by preventing ingress of chlorides.

Principle 3 [CR]; Concrete Restoration

The mortar or concrete may be cement-bound, polymer-modified cementitious, or polymer-bound.

Principle 4 [SS]; Structural Strengthening

It is essential when using principle 4 that any repair should not produce any stresses which are harmful to the original structure.

Method 4.6, installing tendons through or around an element of a concrete structure and subsequently tensioning them to confine the element or carry loads applied to it, can create internal stresses which increase the effects of deterioration.

Principle 6 [RC]; Resistance to chemicals

Where concrete has in the past been attacked by chemicals or is at present being attacked by those chemicals covered by the provisions of EN 206, concrete in accordance with EN 206 and products and systems in accordance with the EN 1504 series may be used.

#### B.6.2.2	Principles and methods concerning reinforcement corrosion

Reinforcement may be at risk of corrosion because cover is missing, is of poor quality, is contaminated e.g. by chlorides, is carbonated, is of insufficient depth or has been lost through impact or erosion. Alternatively, corrosion can be caused by stray electrical currents even where the cover is not defective in any way.

Corrosion caused by the ingress of chloride is more difficult to treat than corrosion caused by carbonation. The minimum concentration of chloride which causes corrosion can range from 0,2 to 0,5 % by weight of cement, but depends on the cement type, the source of chloride, the alkalinity of the concrete and the environment.

Carbonation

Where the reinforcement is protected by some remaining uncarbonated cover (as indicated by the phenolphthalein test (see EN 104-865), and it is not practicable or economic to provide the full depth of cover needed for long-term protection, anti-carbonation treatments may be used in accordance with principle 1 [IP] to extend the life of the protection. Additionally, protection may be increased by limiting the moisture content to increase resistivity in accordance with principle 8 [IR].

Where passivity has been lost entirely, as an alternative to restoring passivity protection may be provided by principle 10 [CP].

Where reinforcement has lost protection as the result of carbonation, and where the concrete structure is to be repaired by replacing cover with concrete or mortar in accordance with method 7.2, the designer or other competent authority may consider adding additional protection in the form of a coating or surface treatment in accordance with principle 1 [IP].

Alternatively, it may be possible to restore alkalinity in-situ by methods 7.3 or 7.4.

Corrosion threatened or caused by chlorides or other corrosive contaminants

Where the concrete structure is to be repaired by replacing concrete in accordance with method 7.2, concrete which contains chloride at any significant level should be considered for removal and replacement with uncontaminated alkaline concrete or mortar as there is a risk of recontamination by diffusion.

Halides other than chlorides, and a number of other water-soluble chemicals, can also cause reinforcement corrosion, but they are likely to be significant only in processing or storage areas and are not usually found in harmful concentrations in the natural environment.

Acid-forming pollutants such as sulphur dioxide or trioxide, hydrogen sulphide, and nitrogen dioxide and trioxide in the air can attack both concrete and reinforcement in areas where pollution is high, for example in chimneys.

If reinforcement is no longer adequately protected from corrosion by the surrounding concrete, corrosion rates may be reduced, by chloride extraction (principle 7), by increasing the resistivity of the concrete by limiting the moisture content (method 8.1), or by cathodic protection (principle 10).

Where the cause of the contamination is chloride which has penetrated the concrete from the environment, consideration should be given to the application of a coating or surface treatment complying with this European standard to give additional protection against the future ingress of contamination in accordance with principle 1 [IP].

Cracks where there is contamination

Where there is a danger that corrosive contaminants will penetrate the concrete at cracks, consideration should be given to protecting cracks which are currently free from contamination in accordance with method 1.4.

Principle 7 [RP]; Preserving or restoring passivity

General

All methods of restoring passivity are effective only to a certain depth and there may be a risk of contamination from the environment and adjacent contaminated concrete.

Method 7.2	Replacing contaminated or carbonated concrete

In some cases, it may be necessary to replace reinforcement as well as concrete. It is often desirable to protect the repaired and adjacent concrete against ingress as in principle 1.

Method 7.4	Realkalisation of carbonated concrete by diffusion

This method requires the application of cementitious concrete or mortar to the surface of carbonated concrete so that it can be re-alkalised through diffusion.

The method depends upon conditions which permit sufficient diffusion and on the ability of the repair layer to prevent carbonation at the reinforcement throughout the required design life of the member.

Method 7.5	Electrochemical chloride extraction

Electrochemical chloride removal is only possible for the concrete between the reinforcement and the surface and immediately surrounding the reinforcement. There is a risk of recontamination of this concrete from ions within the concrete behind the reinforcement.

Principle 8 [IR] Increasing resistivity

Principle 8 [IR] requires the moisture content of the concrete to be low enough to restrict the flow of ions to a very low value.

Internally in dry buildings, corrosion is seldom a problem even if the concrete is carbonated at the depth of the reinforcement.  This is because the low moisture content in enclosed buildings tends to raise the resistivity of the concrete to a level where the corrosion rate is insignificant.

In suitable circumstances, it may be possible to create similar conditions externally by reducing moisture content through the application of ventilated external cladding, water-repellent surface treatments, pore-filling impregnation or surface coatings. When such methods of protection are used, it is necessary to consider the specific application in detail to ensure that moisture cannot be created by condensation at cold spots and that it cannot enter the concrete from the ground, faulty drainage or other sources. The escape of moisture should not be impeded.

Principle 9 [CC] Cathodic control

Principle 9 [CC] requires the access of oxygen to all potentially cathodic areas to be restricted to the point when corrosion cells are stifled and corrosion is prevented by the inactivity of the cathodes.

Saturation of the whole of a self-contained reinforced concrete unit, whose reinforcement has no electrical connection with reinforcement in any other unit which has oxygen access, is an example of the application of this principle. Surface coating could have a similar effect if it can be ensured that the coating is complete and effective.

Limiting oxygen content (at the cathode) by saturating the concrete, should be used only where the whole of the member is under water and where reinforcement of the submerged member is electrically isolated from all reinforcement in members which are not submerged, or where there is no effective return path for ionic currents through the concrete.

Principle 10 [CP] Cathodic protection

Cathodic protection may be especially appropriate where chloride contamination is threatening or causing corrosion of reinforcement but little or no physical damage has occurred, or where physical damage has occurred but it is not economic or practical to remove physically sound but chloride-contaminated concrete.

Where cathodic protection is used, sound concrete should be left undisturbed wherever possible.

Principle 11 [CA] Control of anodic areas

Method 11.1 Painting reinforcement with coatings containing active pigments

Active pigments may function as anodic inhibitors or by sacrificial galvanic reaction.

Inhibitors are chemical agents which discourage the formation of anodic regions on the reinforcement.

There is controversy about the medium and long-term effectiveness of this type of treatment.

Coating the reinforcement with a coating which is an electrical conductor with a lower electrode potential than steel results in the cations of the coating material (rather than the steel) dissolving under corrosive conditions. Ions of the coating metal are also attracted to any accidentally exposed (negatively charged) parts of the steel where they repair the protective layer.

Other methods include phosphating with dilute phosphoric acid, followed by a sealing coat.

Method 11.2 Painting reinforcement with barrier coatings

Isolating the reinforcement from the surrounding concrete with a coating which is an electrical insulator should prevent metal cations from escaping from the steel (and should also prevent incoming anions from being discharged there).

The method can only be effective if the steel is clean and the coating complete, i.e. the bar must be completely encapsulated and the coating undamaged. The method should not be considered unless the whole of the circumference of the bar can be coated. The effect of the coating on bond should be considered.

Method 11.3 Applying inhibitors to the concrete by impregnation or diffusion

Inhibitors may be applied as a surface treatment, or by electrochemical means. They may also be added to repair products and systems. Inhibitors act by chemically changing the surface of the steel or by forming a passive film over it.

Inhibitors applied to the surface of the concrete rely for their effectiveness on their ability to penetrate the concrete down to the level of the steel because concrete is permeable to inhibitors which generate high vapour pressure and have good diffusion characteristics.

#### B.6.2.3	Protection against and repair of reinforcement corrosion by methods not specifically mentioned in this European standard

Concrete protection and repair are rapidly developing technologies and new methods of protection and repair are frequently proposed, developed and applied on a trial basis. This is especially true where reinforcement corrosion is the cause of the defects.

Some of the newer methods have already been in use for several years, but the long life expected from concrete structures makes it impossible to evaluate the performance of these methods quickly.

## B.7	Properties of products and systems required for compliance with the principles of protection and repair

Particular attention shall be paid to temperature and humidity conditions because most repair products have been formulated to perform within a given range of ambient application conditions.

## B.8	Maintenance following the completion of protection or repair

Some parts of the protected or repaired concrete structure may have an expected service life which is short compared with that of the rest of the concrete structure. Familiar examples are surface coatings, sealants, and weather proofing materials. If the integrity of the protection or repair depends on such parts, it is essential that they be regularly inspected, tested and renewed if necessary.

1) In the case of small protection and repair projects, a detailed invoice for the work will usually be a sufficient record of the work which has been carried out.

2) The following listing gives information for future maintenance which should be included:

a) an estimate of the expected remaining design life of the concrete structure;

b) identification of each part whose design life is expected to be less than the required service life of the concrete structure;

c) the date at which each such part is next to be inspected or tested;

d) the system of inspection which is to be used, how results are to be recorded and how future inspection dates are to be decided;

e) a specification for continuous treatment (if any is required), for example cathodic protection;

f) a statement of precautions to be taken or prohibitions to be enforced, for example maintenance of surface water drainage, maximum pressure for washing or prohibition of the use of de-icing salt.

A maintenance management system should be implemented to ensure that the required maintenance is carried out.

## B.9	Health, safety and the environment

No informative comment.

1

1

2) This document is in preparation.